LIBRARY

Safety Check List

# Municipality: ___________________________ Inspection Date: ___________________

# Name of Inspector: ______________________ Title: ____________________________

# Location Surveyed: ______________________________________________________

| YES | NO | N/A | Condition |
| --- | --- | --- | --- |
|  |  |  | Walking surfaces free of slip-trip-fall hazards |
|  |  |  | Stairway handrails in good condition and tightly secured |
|  |  |  | Stair treads in good condition and adequately illuminated |
|  |  |  | Stairways free of storage or obstruction |
|  |  |  | Storage of materials properly arranged |
|  |  |  | Filing cabinets & shelves secured. |
|  |  |  | Illumination adequate throughout |
|  |  |  | Heaters clear of combustible / flammable materials |
|  |  |  | Material storage at least 18” from sprinkler heads, 24” from ceiling |
|  |  |  | Housekeeping adequate |
|  |  |  | Emergency evacuation plan and emergency phone numbers posted |
|  |  |  | Means of egress readily accessible and unobstructed |
|  |  |  | Emergency lights operational |
|  |  |  | Exit lights and / or signs visible and adequate |
|  |  |  | Minimal use of proper extension cords and in good condition |
|  |  |  | Outlet / switch covers secure |
|  |  |  | Electric room and / or panels cleared of combustible material and circuits identified |
|  |  |  | Coffee Pots, Copier, Portable Electric Heaters in good condition, properly located and shut off after hours (No kerosene heaters permitted) |
|  |  |  | Surge protector on all electrical accessories |
|  |  |  | Elevator inspection certificates current |
|  |  |  | Elevator entrance signs posted “In Case of Fire, Do Not Use” |
|  |  |  | Fire extinguishers serviced annually & inspected monthly; sign tags |
|  |  |  | Fire Alarm and / or Detection System Functional |
|  |  |  | First Aid Kit available and maintained |

NOTE:  ALL “NO” ANSWERS REQUIRE EXPLANATION ON THE BACK OF THIS FORM