| Pesticide Operations/ Storage Self-Inspection Safety Checklist Recommended minimum inspection frequency is annual |
| --- |
| Municipality | Inspection Date: / /201 |
| Name of Inspector: | Title: |
| Location Surveyed: |

If own more than one area or cabinet, each is uniquely identified

| # | Needs work | OK/Yes | N/A U/K | Item Write line # & comments on back for each needs work item |
| --- | --- | --- | --- | --- |

Pesticides Operator Program   Reference: NJAC 7:30   No use without APPLICATOR!

|  |  |  |  | Facility is identified with a clear sign prohibiting unauthorized entrance? |
| --- | --- | --- | --- | --- |
|  |  |  |  | Municipality uses ANY EPA registered pesticides? i.e., Roundup? |
|  |  |  |  | Do you restrict pesticide/herbicide use to unregulated alternatives? |
|  |  |  |  | Does municipality have a licensed “Commercial Pesticides Applicator”? |
|  |  |  |  | Does municipality have a licensed “Commercial Pesticides Operator”? |
|  |  |  |  | Are pesticides stored in a secure locked cabinet? See questions below |
|  |  |  |  | Are all “Applicators” or “Operators” in your respiratory program? |
|  |  |  |  | Do you provide a sufficient quantity of “approved” cartridges TC-14G? |
|  |  |  |  | Do you maintain a complete written inventory of all pesticides? |
|  |  |  |  | Is the inventory updated annually? Sent to the local FD? Posted? |
|  |  |  |  | Is a copy of the inventory given to the local Fire department? |
|  |  |  |  | Do you maintain the records of applications specified in NJAC 7:30-6.8? |
|  |  |  |  | Can you maintain the temperature to between 400 F and 950 F? |
|  |  |  |  | Does the municipality transport Pesticides in a vehicle? |
|  |  |  |  | Does the vehicle carry a fire extinguisher with minimum 2A10BC rating? |
| Pesticide liquids cabinets Municipality does not own this equipment □ |
|  |  |  |  | Is the storage building located in an area “Not subject to flooding”? |
|  |  |  |  | No more than 3 cabinets per fire division? |
|  |  |  |  | Painted green with white “Pesticides” on front? |
|  |  |  |  | Doors kept closed, latched and LOCKED? |
|  |  |  |  | If dispensing is done from within are Ground wires attached? |
|  |  |  |  | Vent bungs in place? |
|  |  |  |  | Cabinet is ventilated? Check n/a for no |
|  |  |  |  | No acids or other hazardous material classes stored inside? |
|  |  |  |  | No cardboard or wood stored inside? |
|  |  |  |  | No spilled material in trays? Clean shelves? |
|  |  |  |  | No more than 60 gallons of pesticides stored in each cabinet? |
|  |  |  |  | Is there an eyewash or bottles in the facility? |
|  |  |  |  | Is there a spill kit in close proximity to the facility? |